## size&PSD_sp-ICP-MS
SAMPLE INFORMATION | [16 empty] | METHOD AND INSTRUMENT INFORMATION | [24 empty] | RESULTS | [7 empty] | SOP
Replicate number | NM id code | NM chemistry (core) | Cas number | Vial number | Supplier | Material state | Use of dispersant | Dispersant reference | Sample name | Reporting organisation | Operator | Date of preparation | Date of analysis | Module | Endpoint | Assay name | Size distribution | [6 empty] | Instrument settings | [6 empty] | Response factor calibration solution | Response factor calibration solution |  | Reference material |  |  |  |  | Unknown sample |  |  | Nebulization efficiency | Number of detected particles | Concentration | Concentration | Ionic concentration | Particle size distribution - mean/mode | Uncertainty | Background equivalent diameter | References to sops
[17 empty] | Size distribution | Size distribution analyse method | Dispersion medium | Mass concentration | Mean hydrodynamic diameter | Mean hydrodynamic diameter | Pdi | Instrument brand and model | Tunning date/aquisition date | Sample introduction system description | Sample inlet flow | Nebulization efficiency | Isotope dwell time | Total acquisistion time | Response at element amu | Ionic standard concentration | Size calibration | Manufacturer / product number | Reference element mass | Mean reference particle diameter | Reference material density | Concentration of reference material | Target element mass | Analyte mass fraction | Particle density
[20 empty] | mg/ml | nm | nm |  |  |  |  | ml/min | % | ms | min | cps/ppb |  |  |  | amu | nm | g/cm3 | ng/l | amu |  | g/cm3 | % |  | particles/l | ng/l | ug/l | [nm]/ [nm] | nm
Note on B2: e.g. nm-300, jrcnm01001a, ...
Note on F2: NM supplier
Note on G2: (liquid or fluid, fluid dispersion, powder)
Note on H2: yes/no (e.g. for ag nps nm-300k or nm-302)
Note on I2: (indicate here the reference number of the vial used)
Note on J2: (internal reference)
Note on O2: (e.g. phys-chem, in vitro tox, in vivo tox, eco tox, ...)
Note on P2: (oecd list, and others)
Note on Q2: (conventional name of the assay, e.g. comet, ...)
Note on R2: (as measured with other tecniques)
Note on R3: (ex: monomodal, bimodal or multimodal?)
Note on S3: (ex: dls, cls, etc...)
Note on T3: (e.g. water + 0.05% bsa stock solution, culture medium, etc...)
Note on V3: mean hydrodynamic diameter
Note on W3: in weight (w) or numer (n)*
Note on AI2: (if used)