## composition_EDX
SAMPLE INFORMATION | [16 empty] | METHOD AND INSTRUMENT INFORMATION | [20 empty] | RESULTS | [5 empty] | SOP
Replicate number | NM id code | NM chemistry (core) | Cas number | Vial number | Supplier | Material state | Use of dispersant | Dispersant reference | Sample name | Reporting organisation | Operator | Date of preparation | Date of analysis | Module | Endpoint | Assay name | Sample holder | Sample shape and size | Sample preparation | Further treatments/notes | Em model, electron beam and em chamber operating conditions | [5 empty] | Edx model and acquisition conditions | [8 empty] | Data processing |  | Elemental composition | [5 empty] | References to sops
[21 empty] | Em producer and model | Source | Vacuum in the em chamber | Electron beam accelerating voltage | Spot size | Final aperture diameter | Edx detector | Edx acquisition system | Dimension of the investigated area for each measurement | Number of repeated measurements for each sample | Electron beam scan rate | Acquisition time for each measurement | Spectrum range | Number of channels | Process time | Notes | End point determination | Element 1 | Associated uncertainty | Element 2 | Associated uncertainty | Element 2 | Associated uncertainty
[25 empty] | nm | mm |  |  | mm |  |  | sec |  |  | min |  |  | atomic %
Note on AS1: Standard operation procedure
Note on B2: e.g. nm-300, jrcnm01001a, ...
Note on F2: NM supplier
Note on G2: (liquid or fluid, fluid dispersion, powder)
Note on H2: yes/no (e.g. for ag nps nm-300k or nm-302)
Note on I2: (indicate here the reference number of the vial used)
Note on J2: (internal reference)
Note on O2: (e.g. phys-chem, in vitro tox, in vivo tox, eco tox, ...)
Note on P2: (oecd list, and others)
Note on Q2: (conventional name of the assay, e.g. comet, ...)
Note on AM2: (atomic % � standard deviation values)
Note on AN3: SD
Note on AP3: SD
Note on AR3: SD